## Slide 1
ToF measurement Errors
고객가치
새로운 시도
집요한 실행

## Slide 2: Classification of the errors
ToF Camera
Errors in the depth measurement using the ToF cameras
Systematic
Errors
Non-systematic
Caused by imaging conditions.
Generally managed by calibration.
Caused by external environments and noise.
Generally managed by filtering.
Machine Learning is also taken.
References
Foix, S., Alenyà, G., & Torras, C. (2011). Lock-in ToF Cameras - A Survey. Ieee Sensors Journal, 11(9), 1917–1926.
He, Y., Liang, B., Zou, Y., He, J., & Yang, J. (2017). Depth errors analysis and correction for time-of-flight (ToF) cameras. Sensors (Switzerland), 17(1). https://doi.org/10.3390/s17010092
Depth Distortion
Integration-time-related error
Built-in pixel-related errors
Amplitude related errors
Temperature-related errors
Different IT gives different depth values.
Main reason is still under investigation.
Wiggling, Circular Error
Generally managed by calibration.
Due to different material properties in CMOS-gates
Due to capacitor charge time delay.
Gaussian beam shape.
Low illumination for each object.
Difference in object reflectance.

## Slide 3: Systematic errors: Depth Distortion
ToF Camera
Caused because the emitted laser cannot be generated in practice as theoretically planned.
Produces an offset that depends only on the measured depth.
Usually, it shows a sinusoidal shape.
Correction 1: Compare to reference ground truth distance. Needs an additional sensor to acquire reference data.
Correction 2: Optimizing the errors by modeling the errors. Only applicable in a limited range. Example of models: B-Spline, Polynomial regression.
References
Foix, S., Alenyà, G., & Torras, C. (2011). Lock-in ToF Cameras - A Survey. Ieee Sensors Journal, 11(9), 1917–1926.
He, Y., Liang, B., Zou, Y., He, J., & Yang, J. (2017). Depth errors analysis and correction for time-of-flight (ToF) cameras. Sensors (Switzerland), 17(1). https://doi.org/10.3390/s17010092

## Slide 4: Systematic errors: Integration-time-related error
ToF Camera
References
Foix, S., Alenyà, G., & Torras, C. (2011). Lock-in ToF Cameras - A Survey. Ieee Sensors Journal, 11(9), 1917–1926.
He, Y., Liang, B., Zou, Y., He, J., & Yang, J. (2017). Depth errors analysis and correction for time-of-flight (ToF) cameras. Sensors (Switzerland), 17(1). https://doi.org/10.3390/s17010092
The same with different IT gives different depth values.
Modulating the IT affects other Calibration methods. So, the auto mode for IT is not recommended.
Correction 1: Choose one IT, perform the other calibrations and never change it. For short-range detection.
Correction 2: Repeat depth distortion calibration for different IT. Then apply it according to the current IT.

## Slide 5: Systematic errors: Built-in pixel-related error
ToF Camera
References
Foix, S., Alenyà, G., & Torras, C. (2011). Lock-in ToF Cameras - A Survey. Ieee Sensors Journal, 11(9), 1917–1926.
He, Y., Liang, B., Zou, Y., He, J., & Yang, J. (2017). Depth errors analysis and correction for time-of-flight (ToF) cameras. Sensors (Switzerland), 17(1). https://doi.org/10.3390/s17010092
Reason 1: Different material properties in CMOS gates.
Reason 2: Capacitor charge time delay during the signal correlation process.
Commonly represented with a fixed pattern noise (FPN) table. Comparison to computed depth with a reference depth.
Always coupled with the amplitude-related errors.

## Slide 6: Systematic errors: Amplitude-related errors
ToF Camera
References
Foix, S., Alenyà, G., & Torras, C. (2011). Lock-in ToF Cameras - A Survey. Ieee Sensors Journal, 11(9), 1917–1926.
He, Y., Liang, B., Zou, Y., He, J., & Yang, J. (2017). Depth errors analysis and correction for time-of-flight (ToF) cameras. Sensors (Switzerland), 17(1). https://doi.org/10.3390/s17010092
Due to low or overexposed reflected amplitudes.
The low amplitude at the border  Overestimating depth at the edges.
Overexposed by Too-close-to-the camera or too-long-IT  Overestimating the center.
Reason 1: Gaussian beam shape.
Reason 2: Low illumination for each object.
Reason 3: Difference in object reflectance. (Different depth measurements for pixels at the same distances.)
Correction 1: Filter pixels with amplitudes lower than a threshold.  Possibility of losing too many portions of the images.
Correction 2: Extending the IT.
Correction 3: Take the median of built-in pixel-related and amplitude-related errors for various reflectance and use them as a look-up table.

## Slide 7: Systematic errors: Temperature-related errors
ToF Camera
References
Foix, S., Alenyà, G., & Torras, C. (2011). Lock-in ToF Cameras - A Survey. Ieee Sensors Journal, 11(9), 1917–1926.
He, Y., Liang, B., Zou, Y., He, J., & Yang, J. (2017). Depth errors analysis and correction for time-of-flight (ToF) cameras. Sensors (Switzerland), 17(1). https://doi.org/10.3390/s17010092
Reason: Happens because internal camera temperature affects depth processing.
Correction: Switch on the camera and wait until the temperature of the camera becomes stable.
Overestimation has been observed in the SR-2 SwissRanger camera.