## Slide 1: S-LiDAR Cal. (Dark, TDC, P2P)
Item | 인원 | 6월2주 | 6월3주 | 6월4주 | 7월1주 | 7월2주 | 7월3주 | 7월4주 | 8월1주 | 8월2주 | 8월3주 | 8월4주 | 11월
Dark, TDC, P2P Cal. 장비 | 성동현 이동건 이석민 |  |  |  |  |  |  |  |  |  |  |  | 
DNL용
IR 광원
발주
P2P
광원설계
EVK
입고
P2P
장비
발주
Dark
Cal
검증
TDC
Cal
검증
w/ IR광원
실거리
TOF
Chart
측정
P2P
입고
검증
통합
Cal
장비개발
의사결정
통합
Cal
장비
설계
통합
Cal
장비
발주
입고
ACE d-TOF Sensor Calibration 방식을 자사 S-LiDAR 에 적용
전반적이 Calibration 의 방식은 동일하지만 자사 S-LiDAR 에 적합한 장비 구성으로 Modification

## Slide 2: Lens Calibration
Geo Cal.
Depth Cal.
FPN Cal.
TDC Linearization.
measure
Spot finding
Dark Box
LPFF
Rail
P2P
Jasper Calibration BM process
LPFF TDC Linearization
A Python test code for the TDC linearization
00
01
10
11
V (LSB)
Definition of Differential Non-Linearity
00
01
10
11
V (LSB)
Ideal TDC
Real TDC
Jasper의 DNL 측정값 DNL [0.71, 1.66] 일 때 양품 판정. 통상적으로 [0.8, 1.2] in Jasper case

## Slide 3: Lens Calibration
Summarized Lens Calibration process
Print a pattern and attach it to a planar surface.
Take several images with different locations and orientations by moving either the plane or camera.
Detect the corners of the chessboard.
Estimate intrinsic and extrinsic parameters.
Refine the found parameters.
Obtain the distortion parameters and undistort the image.
Repeat 4~6 until all the parameters converge.
Corner detector algorithm.
Zhang’s technique.
The Levenberg-Marquardt algorithm.
The Brown-Conrady model.
Harry’s operator
Forstner’s algorithm
Suzuki’s algorithm
Alexander’s algorithm
etc.

## Slide 4
The Levenberg-Marquartdt Algorithm
고객가치
새로운 시도
집요한 실행

## Slide 5: Lens Calibration
Maximum likelihood estimation
where is the projection of point in image and is the ideal coordinate of a point in an image plane.
Zhengyou Zhang’s technique
The maximum likelihood estimation can be obtained by minimizing the followings:
th image

## Slide 6: Lens Calibration
What is the optimization algorithm?
Determining the direction and step side to minimize or maximize the cost, loss, error, or profit function.
Various optimization algorithms for the non-linear least squares problem:
Gradient Descent.
Gauss-Newton method.
Levenberg method = GD + GN
Levenberg-Marquartdt method = Modified Levenberg

## Slide 7: Lens Calibration
where , and .
For simplicity, we define the error function as:
Gradient Descent method
1st image
2nd image
ith image
th point
If there are images that each has points, there will be points in total.
The magnitude of displacement:
는 에러의 제곱. 모든 점에 대한 에러의 제곱을 다 더하여, 그 값이 최소가 되는 찾는 것.

## Slide 8: Lens Calibration
Gradient Descent method
Definition of the gradient of a function.
Note that the step size (or learning rate) is allowed to change at every step.

## Slide 9: Lens Calibration
Gradient Descent method
where , the coordinate of the th point and
Since ,

## Slide 10: Lens Calibration
Gradient Descent method

## Slide 11: Lens Calibration
Gradient Descent method

## Slide 12: Lens Calibration
Gradient Descent method
Note that
at the 5th equation above.
Then the gradient descent method for the multivariable function becomes:

## Slide 13: Lens Calibration
Taylor series in multiple variables.
Taylor series to the first-order is then,
The Gauss-Newton method

## Slide 14: Lens Calibration
If there are functions that each has variables, the first-order Taylor expansion is,
where and .
The Gauss-Newton method

## Slide 15: Lens Calibration
We want to be a zero vector, but the approximation will not be a zero vector.
if we replace to , to and to ,
Rearranging with respect to , we get
The Gauss-Newton method

## Slide 16: Lens Calibration
Gradient Descent method
Gauss-Newton method
The Levenberg method
The Levenberg-Marquartdt method
The Levenberg method

## Slide 17: Lens Calibration
The Levenberg method
: Dampling factor
As ,
it asymptotically converges to the gradient descent method with .
As ,
it asymptotically converges to the Gauss-Newton method with .

## Slide 18: Lens Calibration
Maximum likelihood estimation
Maximum likelihood estimation can be obtained by minimizing the following function:
where is the projection of point in image and is the ideal coordinate of a point in an image plane.
the Levenberg-Marquardt algorithm
th image
Zhengyou Zhang’s technique