## Slide 1: Lens Calibration
Geo Cal.
Depth Cal.
FPN Cal.
TDC Cal.
measure
Spot finding
Dark Box
LPFF
Rail
P2P
Jasper Calibration BM process
LPFF TDC Linearization
Python code for TDC linearization
00
01
10
11
V (LSB)
Definition of Differential Non-Linearity
00
01
10
11
V (LSB)
Ideal TDC
Conventional TDC
LFPP/P2P
광원 및 광학계
검토
Dark box 및
Chart 구현
검토
IMX459 EVK을
활용하여
LPFF/P2P 검증
IMX459 EVK을
활용하여
Dark box 검증
IMX459 EVK을
활용하여
Chart/Rail 검증
결과 종합 및
장비화 컨셉 검토
22.06
22.07
22.08
22.09
일정
EVK, POC 수령
Jasper의 DNL 측정값 DNL [0.71, 1.66] 일 때 양품 판정. 통상적으로 [0.8, 1.2] in Jasper case

## Slide 2: Lens Calibration
Summarized Lens Calibration process
Print a pattern and attach it to a planar surface.
Take several images with different locations and orientations by moving either the plane or camera.
Detect the corners of the chessboard.
Estimate intrinsic and extrinsic parameters.
Refine the found parameters.
Obtain the distortion parameters.
Repeat 4~6 until all the parameters converge.
Corner detector algorithm.
Zhang’s technique.
The Levenberg-Marquardt algorithm.
The Brown-Conrady model.

## Slide 3
The Brown-Conrady Model
고객가치
새로운 시도
집요한 실행

## Slide 4: Lens Calibration
In practice, and are typically used.

## Slide 5: Lens Calibration
Dealing with radial distortion
: the ideal pixel image coordinate (non-observable distortion-free).
: the real observed image coordinate.
: the ideal normalized image coordinate (non-observable distortion-free).
: the real observed normalized image coordinate.
Assuming , from and

## Slide 6: Lens Calibration
Dealing with radial distortion

## Slide 7
Corner detector
고객가치
새로운 시도
집요한 실행

## Slide 8: Lens Calibration
Pinhole camera equation
and are must be well-defined to accurately calibrate the camera.
640 pixels
480 pixels
Suzuki’s algorithm. - 1985 Find the corners of a given chessboard image.
Wolfgang Forstner’s algorithm. - 1987 Refine the location of the corners.
Alexander Duda’s algorithm. - 2019 Find the corners of a given chessboard image with better accuracy and faster speed.
intrinsic
extrinsic

## Slide 9: Lens Calibration
Suzuki’s algorithm
Suzuki’s + Forstner’s algorithm
Alexander Duda’s algorithm
Alexander + Forstner’s algorithm

## Slide 10: Lens Calibration
100cm
Lens Calibration in Jasper
Point localizing by hand of no uses.

## Slide 11: Lens Calibration
Alexander Duda’s algorithm

## Slide 12: Lens Calibration
Algorithm required for Lens calibration
Zhengyou Zhang’s technique. Required to calibrate the lens and undistort the image. To obtain the intrinsic/extrinsic parameters.
The Levenberg-Marquardt Algorithm Required for obtaining the homography matrix estimation. Required for minor correction of the coordinate of the points on the image plane.
Corner detection algorithms. Required for accurate detection and localization of checkerboard corners.

## Slide 13: Lens Calibration
Algorithm required for Lens calibration
Zhengyou Zhang’s technique. Required to calibrate the lens and undistort the image. To obtain the intrinsic/extrinsic parameters.
The Levenberg-Marquardt Algorithm Required for obtaining the homography matrix estimation. Required for minor correction of the coordinate of the points on the image plane.
Corner detection algorithms. Required for accurate detection and localization of checkerboard corners.

## Slide 14: Lens Calibration: radial distortions
The three most common radial distortions
Pincushion distortion
(negative radial distortion)
Barrel distortion
(positive radial distortion)
Mustache distortion
(complex distortion)
degree 2
degree 4
degree 2

## Slide 15: Lens Calibration: pinhole camera model
Camera matrix (Projection matrix)
optical axis
: focal length in pixel unit.
: skew coefficient. Usually 0 for modern camera
: the coordinate of the principal point in pixel unit.
Skew coefficient.
The world coordinate and the image coordinate.
Image plane and

## Slide 16: Lens Calibration
The homography matrix
A planar surface and the image plane
Rotated and translated camera position
The planar homography maps the transformation between two planes.
It is a matrix but with 8 DOF. It is normalized with or .
can be obtained by using the pseudo-inverse method.
The camera matrix is one kind of homography matrix.

## Slide 17: Lens Calibration
Zhengyou Zhang’s Camera Calibration method
A point in the image plane:
A point in the world plane:
: intrinsic parameters (focal length, principal point)
: Rotation matrix
: Translation matrix
: Scale factor

## Slide 18: Lens Calibration
Zhengyou Zhang’s Camera Calibration method
We now have the homography matrix ,
We assume the model plane is on . Then,
where is an arbitrary scalar and .
If we dot product both side with , we have
Using the knowledge that and are orthonormal, we have

## Slide 19: Lens Calibration
Zhengyou Zhang’s Camera Calibration method
We can get two constraints from the above equation.
Let . Then is symmetric.
Define a six-dimensional vector and such that
Then we can readily derive that
where is the th column of .
Inserting the above into the two constraints, they can be rewritten as,
Let’s denote .

## Slide 20: Lens Calibration
Zhengyou Zhang’s Camera Calibration method
If there are images, by stacking such equations, we have
where is a matrix.
When , is obtained and then is known.
All the intrinsic parameters are obtained.
Solution: eigenvectors of with the smallest eigenvalues.
where is not exist.
Once the intrinsic parameters are obtained, the extrinsic parameters for each image are readily computed.
Since ,

## Slide 21: Lens Calibration
OpenCV python test code: Spot searching
Before
After

## Slide 22: Lens Calibration
Before
After
OpenCV python test code: Undistort the image
Barrel distortion

## Slide 23: Lens Calibration
90cm
80cm
100cm
Lens Calibration in Jasper

## Slide 24: Lens Calibration
Can it be directly applied to IMX459?
LiDAR has all three coordinates, . Then why should we adopt the calibration method for the 2D camera? Shouldn’t we calibrate LiDAR using the spherical coordinate?