## Slide 1
Lens Calibration
고객가치
새로운 시도
집요한 실행

## Slide 2: Lens Calibration: Homogeneous coordinate
camera center
Red dots are colinear.
All points on the line projected to
: the center of the camera
: focal length of the camera
: Constant
In projective geometry, any colinear points are projected to the same point on the plane at .
The homogeneous coordinate of a 2D point is then,

## Slide 3: Lens Calibration: four coordinates
normalized
image plane
image plane
camera center
: the center of the camera
: focal length of the camera
There are 4 coordinates in the pinhole camera model.
World coordinates.
Image coordinates.
Normalized image coordinates.
Sensor coordinates.
a projected point
Sensor(pixel) coordinates
pixels per unit length
pixels per unit length
sensor 좌표계에서는 pixel의 위치로 좌표 값이 변환 됨.
축과 축의 단위 길이 당 센서 개수가 다르다.
즉 , , .
Intrinsic parameters
Skew coefficient.

## Slide 4: Lens Calibration: Homography matrix
Camera matrix (Projection matrix)
optical axis
: The focal length in pixel unit.
: skew coefficient. Usually, 0 for modern camera
: the coordinate of the principal point in pixel unit.
extrinsic parameters
intrinsic parameters
Rigid body transformations: orientation and translation

## Slide 5: Lens Cal
normalized
image plane
camera center
: the center of the camera
: focal length of the camera
an observed point
Lens distortion affects the location of the point before the image-to-sensor transformation.
: radial distance from the center to the projected point.
: radial distance from the center to the observed point.
Usually, we consider only the radial distortion
World-to-camera transformation.
Projection onto the normalized image plane.
Radial lens distortion
Affine 2D transformation to sensor coordinates.
The complete projection process is:

## Slide 6: Lens Cal
0th :
1st
2nd
Sensor coordinate
6th
53rd :
corners
480 pixels
640 pixels
0th :
1st :
World coordinate
5th :
6th
53rd :
Summarized Lens Calibration process
Corner detector algorithm.
Zhang’s technique.
The Levenberg-Marquardt algorithm.
The Brown-Conrady model.
Harry’s operator
Forstner’s algorithm
Suzuki’s algorithm
Alexander’s algorithm
etc.
Print a pattern and attach it to a planar surface.
Take several images with different locations and orientations by moving either the plane or camera.
Detect the corners of the chessboard.
Estimate intrinsic and extrinsic parameters.
Refine the found parameters.
Obtain the distortion parameters and undistort the image.
Repeat 4~6 until all the parameters converge.
OpenCV 사용

## Slide 7: Lens Cal
Print a pattern and attach it to a planar surface.
Take several images with different locations and orientations by moving either the plane or camera.
Detect the corners of the chessboard.
Estimate intrinsic and extrinsic parameters.
Refine the found parameters.
Obtain the distortion parameters and undistort the image.
Repeat 4~6 until all the parameters converge.
Summarized Lens Calibration process
Corner detector algorithm.
Zhang’s technique.
The Levenberg-Marquardt algorithm.
The Brown-Conrady model.
Harry’s operator
Forstner’s algorithm
Suzuki’s algorithm
Alexander’s algorithm
etc.
Burger의 논문 참조함.
Function Tree
Calibrate Camera
Get homographies
Get camera intrinsics
Get camera extrinsics
Estimate distortion
Refine all parameters
estimate homography
Refine homography
Get normalized matrix
Get residuals
Get Jacobian
SVD
기존 library 일부 사용
기존 library 사용
직접 개발
estimate view transform
make true rotation matrix
image to normal
Get value
normal to sensor
Get residuals
Get Jacobian
Get value
Decompose P vector
To rotation
To Rodrigues
Compose P vector
검증 완료
검증 필요

## Slide 8: Lens Cal
Distorted image
Undistorted image (OpenCV)
0
6
12
1
2
3
0
1
2
6
12
54
48
48
54
4
5
A corner in the undistorted image found by suing OpenCV
A corner in the distorted image
 | (1st image)
OpenCV | 
Mine | 
OpenCV | 
Mine | 
 | Intrinsic | Extrinsic (for the 1st image)
OpenCV |  | 
Mine (Distorted) |  | 
 | Intrinsic | Extrinsic (for the 1st image)
OpenCV |  | 
Mine (Distorted) |  | 
intrinsic parameters
extrinsic parameters
Homography matrix

## Slide 9: 5. Lens Cal
삼성 LSI의 iToF Camera Cal C++ code 확보 (from 박상형 책임).
삼성 LSI는 Infineon의 iToF Camera Cal 코드를 일부 modify하여 사용.
Infineon의 XY Cal은 3개의 chart를 두고 한 장의 사진만 획득하여 XY Cal 진행.
S/W개발팀의 김승윤 선임과 알고리즘 구현 경험을 바탕으로 코드를 분석하여 Customized XY Cal library 구축 예정.
LENS_ CalibrationMain
LENS_CalculatePattern
LENS_DetectPattern
LENS_PatternMatching2Mask
LENS_FitLensParams
LENS_MakeGT
LENS_subfunction_Blob_floodFill_Equal_Matlab
LENS_subfunction_Find_Min_Value_Idx
LENS_subfunction_Calc_Error_Polynomial
LENS_subfunction_Calc_Reprojection_Error
LENS_Calc_Undistortion_Points
LENS_subfunction_Find_CxCy_rulebase
LENS_subfunction_Find_Min_Value_Idx
LENS_SetParameter
LENS_Convert
ReadJson_LensCalSet
LENS_subfunction_FindMaxIdx
LENS_subfunction_CreateTemplate
LENS_subfunction_Blob_floodfill
Defined but not called.
LSI XY Cal Algorithm reverse engineering 계획
Function Tree

## Slide 10: Lens Cal
구분 |  | LED chart type | Checkerboard chart type
Version |  | 단일 | Back light/Front light/Tx light * Chart의 light source가 없음
장단점 비교 | Geo cal. 정확도 | 왜곡 보정 효과가 낮음 * Chart 제작 공정상 조립오차 발생 | 왜곡 보정 효과가 높음 * Chart design을 인쇄하는 방식
 | 부피 | 소형화 가능 | 큰 공간 필요 * Chart + IR light source
 | 차트 수정 | 불가능함 | Chart design 수정 후 인쇄하므로 용이함
 | Rx 해상도 | 저해상도 Rx에서도 detection 우수함 | 저해상도 Rx 경우 corner detection의 어려움 존재
Schematics |  |  | 
find
center
Find
center
XY Cal Chart type comparison

## Slide 11: Lens Cal
현재 (M-LiDAR Cal 셋팅) | 
향후 (S-LiDAR Cal 셋팅) | 
1m
4m
2m
LiDAR Module
3.1 m
cm
cm
LED dot 사이 간격
광각을 보기에는 부족
Pixel 간의 간섭 없이 LED dot을 인식하기에 적당.
1.6 m
2.0 m
~80cm
~140cm
~ 4.0 m
1 m
0.7 m
XY Cal 장비 concept

## Slide 12: Lens Cal
, 일 때 .
S-LiDAR로 LED chart를 확인한 뒤 LED dot이 명확히 구별되는 를 결정할 예정.
차트와의 거리 (by 박호진 사원)
target과 lens 와의 거리가 35cm 일 때 상이 맺히는 거리는 5.816mm.
target과 lens 와의 거리가 일 때 상이 맺히는 거리는 5.794mm.
너무 멀면 chart 크기 커짐.
LED 크기 및 세기에 따라 달라질 가능성 있음.
LED 간격 (by 박호진 사원)
Sensor pixel 기준 40cm 밖에서 가 1.459 mm
Sensor pixel 기준 40cm 밖에서 가 4.377 mm
차트 거리가 40 cm 일 경우, 간격 10cm 면 센서에 맺힌 LED 상이 겹치지 않을 만큼 충분히 큼.
S-LiDAR
mm
mm
Depth of field
Depth of focus
XY Cal 장비 concept

## Slide 13: Lens Calibration: Lens distortion
normalized
image plane
image plane
camera center
: the center of the camera
: focal length of the camera
an observed point
a projected point
Lens distortion affects the location of the point before the image-to-sensor transformation.

## Slide 14: XY Cal Algorithm 구현 현황
0th :
1st
2nd
Sensor coordinate
6th
53rd :
corners
480 pixels
640 pixels
0th :
1st :
World coordinate
5th :
6th
53rd :
Summarized Lens Calibration process
Corner detector algorithm.
Zhang’s technique.
The Levenberg-Marquardt algorithm.
The Brown-Conrady model.
Harry’s operator
Forstner’s algorithm
Suzuki’s algorithm
Alexander’s algorithm
etc.
Print a pattern and attach it to a planar surface.
Take several images with different locations and orientations by moving either the plane or camera.
Detect the corners of the chessboard.
Estimate intrinsic and extrinsic parameters.
Refine the found parameters.
Obtain the distortion parameters and undistort the image.
Repeat 4~6 until all the parameters converge.

## Slide 15: XY Cal Algorithm 구현 현황
Print a pattern and attach it to a planar surface.
Take several images with different locations and orientations by moving either the plane or camera.
Detect the corners of the chessboard.
Estimate intrinsic and extrinsic parameters.
Refine the found parameters.
Obtain the distortion parameters and undistort the image.
Repeat 4~6 until all the parameters converge.
Summarized Lens Calibration process
Corner detector algorithm.
Zhang’s technique.
The Levenberg-Marquardt algorithm.
The Brown-Conrady model.
Harry’s operator
Forstner’s algorithm
Suzuki’s algorithm
Alexander’s algorithm
etc.
Burger의 논문 참조함.
Function Tree
Calibrate Camera
Get homographies
Get camera intrinsics
Get camera extrinsics
Estimate distortion
Refine all parameters
estimate homography
Refine homography
Get normalized matrix
Get residuals
Get Jacobian
SVD
기존 library 일부 사용
기존 library 사용
직접 개발
estimate view transform
make true rotation matrix
image to normal
Get value
normal to sensor
Get residuals
Get Jacobian
Get value
Decompose P vector
To rotation
To Rodrigues
Compose P vector
검증 완료
검증 필요

## Slide 16: XY Cal Algorithm 구현 현황
Distorted image
Undistorted image (OpenCV)
0
6
12
1
2
3
0
1
2
6
12
54
48
48
54
4
5
A corner in the undistorted image found by suing OpenCV
A corner in the distorted image
 | (1st image)
OpenCV | 
Mine | 
OpenCV | 
Mine | 
 | Intrinsic | Extrinsic (for the 1st image)
OpenCV |  | 
Mine (Distorted) |  | 
 | Intrinsic | Extrinsic (for the 1st image)
OpenCV |  | 
Mine (Distorted) |  | 
intrinsic parameters
extrinsic parameters
Homography matrix

## Slide 17: XY Cal Chart type comparison
구분 |  | LED chart type | Checkerboard chart type
Version |  | 단일 | Back light/Front light/Tx light * Chart의 light source가 없음
장단점 비교 | Geo cal. 정확도 | 왜곡 보정 효과가 낮음 * Chart 제작 공정상 조립오차 발생 | 왜곡 보정 효과가 높음 * Chart design을 인쇄하는 방식
 | 부피 | 소형화 가능 | 큰 공간 필요 * Chart + IR light source
 | 차트 수정 | 불가능함 | Chart design 수정 후 인쇄하므로 용이함
 | Rx 해상도 | 저해상도 Rx에서도 detection 우수함 | 저해상도 Rx 경우 corner detection의 어려움 존재
Schematics |  |  | 
find
center
Find
center

## Slide 18: XY Cal 장비 concept
현재 (M-LiDAR Cal 셋팅) | 
향후 (S-LiDAR Cal 셋팅) | 
1m
4m
2m
LiDAR Module
3.1 m
cm
cm
LED dot 사이 간격
광각을 보기에는 부족
Pixel 간의 간섭 없이 LED dot을 인식하기에 적당.
1.6 m
2.0 m
~80cm
~140cm
~ 4.0 m
1 m
0.7 m

## Slide 19: XY Cal 장비 concept
S-LiDAR
, 일 때 .
S-LiDAR로 LED chart를 확인한 뒤 LED dot이 명확히 구별되는 를 결정할 예정.
차트와의 거리 (by 박호진 사원)
target과 lens 와의 거리가 35cm 일 때 상이 맺히는 거리는 5.816mm.
target과 lens 와의 거리가 일 때 상이 맺히는 거리는 5.794mm.
너무 멀면 chart 크기 커짐.
LED 크기 및 세기에 따라 달라질 가능성 있음.
LED 간격 (by 박호진 사원)
Sensor pixel 기준 40cm 밖에서 가 1.459 mm
Sensor pixel 기준 40cm 밖에서 가 4.377 mm
차트 거리가 40 cm 일 경우, 간격 10cm 면 센서에 맺힌 LED 상이 겹치지 않을 만큼 충분히 큼.
mm
mm
Depth of field
Depth of focus

## Slide 20: XY Cal 장비 concept
Geo. Cal. Target
≈120°
LiDAR
양 옆 chart는 추가 됨.
Concept by 박상형 책임
RX
TX
LED Chart
외부광원
(적외선)
~ 40cm
차트와의 거리
심도 고려하면 이론적으로 32cm 이상 (by 박호진 사원).
margin 두고 40 cm.
너무 멀면 chart 크기 커짐.
LED 크기 및 세기, 화질에 따라 달라질 가능성 있음.
LED 간격
Sensor pixel 기준 35cm 밖에서 1.4 mm
Sensor pixel 기준 35cm 밖에서 4.4 mm
차트 거리가 40 cm 일 경우, 간격 10cm 면 센서에 맺힌 LED 상이 겹치지 않을 만큼 충분히 큼.
20 cm
20 cm
LED dot 사이 간격
~ 140cm

## Slide 21: Lens Calibration
 | 기존 업체 | 

## Slide 22: Lens Calibration
Detecting algorithm comparison
 | Chess board | LED chart
function name | cv2.findChessboardCornersSB() | cv2.HoughCircles()
Schematics |  | 
Pros | 왜곡 보정 효과가 높음 | 왜곡 보정 효과가 낮음.
Cons | 화소가 많아야 모서리를 정확히 특정할 수 있음. | 상대적으로 화소가 적어도 원을 특정할 수 있음.
find
center
find
corners

## Slide 23: Lens Calibration
 | Chess board (Front light) | Chess board (Back light) | LED chart
Schematic |  |  | 
Pros |  |  | 
Cons |  |  | 
Geo. Cal. Target
≈120°
LiDAR