## Slide 1: Geo cal result
intrinsic:
[k1, k2, p1, p2, k3] =
For raw images,
Radial distortion parameters:
For four times upscaled images,
intrinsic:
[k1, k2, p1, p2, k3] =
Radial distortion parameters:
For both case, (or, ) is uncertain. It is expected to be fixed after active-align is completed.

## Slide 2: Definition of intrinsic parameter
normalized
image plane
image plane
camera center
: the center of the camera
: focal length of the camera
a projected point

## Slide 3: Definition of intrinsic parameter
The projection to the normalized image plane is,
Error is due to
the reduction to pinhole modeling.
Lens defects.
Measurement errors.
where denotes the error and and are the function of error.
Sensor coordinate is obtained by

## Slide 4: Definition of intrinsic parameter
In summary,
focal length scale factor
focal length scale factor
There is no reason for or to be equal to the focal length.
Note: Scale factors are arbitrary value that depends on the experiment environments.