## Slide 1: Electronic parts of Calibration LED Chart 2022.09.20

## Slide 2: CONCEPT1 (* All Channels Individually Control)
LED Board1
40(8x5) Leds
LED Board2
40(8x5) Leds
LED Board3
40(8x5) Leds
LED Board4
40(8x5) Leds
LED Board5
40(8x5) Leds
LED Board6
40(8x5) Leds
LED Board7
40(8x5) Leds
LED Board8
40(8x5) Leds
LED Board9
40(8x5) Leds
LED Board10
40(8x5) Leds
Host
(PC or etc)
Control Board1
(2 LED Boards controlled)
Control Board2
(2 LED Boards controlled)
Control Board3
(2 LED Boards controlled)
Control Board4
(2 LED Boards controlled)
Control Board5
(2 LED Boards controlled)
- System Overview

## Slide 3: CONCEPT1 (* All Channels Individually Control)
- Block Diagram of Control board
…
DAC 10(8CH)
Driver1
LED1
Driver2
LED2
…
DAC 1(8CH)
CPU1
Driver73
LED73
Driver80
LED80
X 5
Driver8
LED8
Driver74
LED74
…

## Slide 4: CONCEPT1 (* All Channels Individually Control)
- Detail configuration of one channel
Micro Controller
Digital
to
Analog
Converter
Current Driver
Analog Dimming
Signal Process
Current Reference
Current Ratio
Circuit
Enable
Power
DC
Regulator
(* Common Cathode)
DUTs

## Slide 5: CONCEPT2 (* All Channels Simultaneously Control)
LED Board1
40(8x5) Leds
LED Board2
40(8x5) Leds
LED Board3
40(8x5) Leds
LED Board4
40(8x5) Leds
LED Board5
40(8x5) Leds
LED Board6
40(8x5) Leds
LED Board7
40(8x5) Leds
LED Board8
40(8x5) Leds
LED Board9
40(8x5) Leds
LED Board10
40(8x5) Leds
Host
(PC or etc)
Control Board
(All LED Boards controlled)
- System Overview
electric circuit board

## Slide 6: CONCEPT2 (* All Channels Simultaneously Control)
- Block Diagram of Control board
Mirror Driver400
Mirror Driver1
LED1
Mirror Driver2
LED2
…
Ref Driver
CPU1
LED399
LED400
Mirror Driver399

## Slide 7: Maintenance
Spare LED Board
40(8x5) Leds
LED Board1
40(8x5) Leds
LED Board2
40(8x5) Leds
LED Board3
40(8x5) Leds
LED Board4
40(8x5) Leds
LED Board5
40(8x5) Leds
LED Board6
40(8x5) Leds
LED Board7
40(8x5) Leds
LED Board8
40(8x5) Leds
LED Board9
40(8x5) Leds
LED Board10
40(8x5) Leds
If some LEDs
Broken
Keep spare parts and replace them immediately in case of problems. After that, the defective module can be repaired at KIMSOPTEC.
If the electrical and physical specifications are met, it is okay to replace the LED of another wavelength.
electric circuit board

## Slide 8
THANK YOU
for your attention!