## Slide 1: A사 Range calibration

## Slide 2: Range cal. & ground truth process
Cal. Region

## Slide 3: Ground truth and targets

## Slide 4: Test 환경
- Amber 환경 예시
- LiDAR cal. 과제 환경 예시

## Slide 5: Range cal algorithm block diagram
Noise filtering(Median)
Target finding & boundary filter in denoised image
Input range data
(ex. 0~250, .txt)
(Header 
Num azimuth
Num elevation
Num frames
)
Input data
Output data
Function
- Range_calibration.py 파일
Exclude noisy Elevation line in original image
Range data accumulation by elevation line one frame
Range data accumulation by frames
Calculate offset with GT range
Range cal.
parameter
Lines to be accumulated
개선
points to be excluded

## Slide 6: Range cal Results (단독 frame)
*Frame #1
*Frame #2
*Frame #3
*Frame #4
Superpixels(0~84)
Range offset (meters)
Superpixels(0~84)
Range offset (meters)
Superpixels(0~84)
Range offset (meters)
Superpixels(0~84)
Range offset (meters)

## Slide 7: Range cal Results (4 frames 누적)
Frame 1
Frame 1~4 accumulated
Frame 2
Frame 3
Frame 4

## Slide 8: Range cal Results 비교 (4 frames 누적 vs Amber vs Gate 1. result)
*New algorithm
*Amber & Gate1. result
Chart: 

## Slide 9: Amber vs Sprint.4 validation결과 비교
소제목
Amber
Sprint review